## META
Biweekly Mesocosm Tank Smapling
biweekly samples will be collected for CO2 to be ran on a benchtop picarro gas analyzer
this data sheet alson includes CO2 time sereis data collected from only tanks with sensors in them
a separate check list (in the work plan) will be used to reccord the data as it is collected outside and to check off additional items, but this sheet will serve as the data location for grab samples after they ha ve been processed
410 ppm CO2 Standard
Notes
Please record all times in 24-hour in PDT so they are clear and consistent
I've put the times in an order that makes sense to me, please feel free to move if you like a different order better
If you are unclear how any times match to the SOP, please let me know!

## Biweekly_Gas_Samples
Date | Sample ID | Time Collected (PSD) | CO2 mean | CO2 stdev | N2O mean | N2O stdev | CH4 mean | CH4 stdev | pH (NBS) | Tank T (C) | Salinity (psu) | Initials | Notes
2023-06-06 | Tank 3 Test | 13:40 | 268.3 | 2.155 | 0.4634 | 0.009531 | 6.844 | 0.08559 | 8.3 | 14.5 | 29 | TM
2023-06-06 | Air Test | 13:35 | 412.2 | 3.567 | 0.36 | 0.0059 | 2.005 | 0.004972 | NA | NA | NA | TM
2023-06-07 | Inlet | 13:43 | 384.8 | 4.424 | 0.515 | 0.005778 | 15.6 | 0.05345 | 8.13 | 14.6 | 29.18 | Tm, KB, KP | only 4 good points, plus one meh one
2023-06-07 | 1 | 13:17 | 347.6 | 7.017 | 0.4897 | 0.0078 | 6.103 | 0.0518 | 8.05 | 12.9 | 29.36 | Tm, KB, KP
2023-06-07 | 2 | 13:24 | 299.3 | 7.771 | 0.4818 | 0.0103 | 6.483 | 0.0634 | 8.06 | 13 | 29.33 | Tm, KB, KP
2023-06-07 | 3 | 13:31 | 298.7 | 4.157 | 0.04944 | 0.008934 | 12.93 | 0.0925 | 8.09 | 13 | 29.32 | Tm, KB, KP
2023-06-07 | 4 | 13:21 | 257.9 | 11.21 | 0.4856 | 0.01064 | 6.102 | 0.105 | 8.17 | 13.2 | 29.29 | Tm, KB, KP
2023-06-07 | 5 | 13:10 | 365.5 | 7.614 | 0.5072 | 0.01118 | 7.536 | 0.05011 | 8.1 | 12.9 | 29.32 | Tm, KB, KP
2023-06-07 | 6 | 13:00 | 380.4 | 24.57 | 0.5028 | 0.01513 | 8.968 | 0.1977 | 8.12 | 13.2 | 29.27 | Tm, KB, KP
2023-06-07 | 7 | 12:48 | 363 | 19.65 | 0.5169 | 0.01537 | 8.596 | 0.1638 | 8.14 | 13.2 | 29.28 | Tm, KB, KP
2023-06-07 | 8 | 12:41 PM | 392.3 | 2.663 | 0.5045 | 0.006176 | 11.73 | 0.03939 | 8.15 | 13.3 | 29.28
2023-06-07 | Air Only | 12:33 | 426.8 | 4.05 | 0.3651 | 0.004731 | 2.023 | 0.005412
2023-06-07 | Cal Gas | CHECK WITH PETER | [9 empty] | KB, KP, TM | Likely a bad sample due to the CO2 value
2023-06-08 | Inlet | 10:14 | 59.32 | 1.767 | 0.07102 | 0.007514 | 0.1659 | 0.001834 | 8.03 | 12.7 | 29.17 |  | Likely a bad sample due to the CO2 value
2023-06-08 | 1 | 10:07 | 51.17 | 0.9676 | 0.064 | 0.006641 | 0.1222 | 0.001573 | 7.85 | 12 | 29.42
2023-06-08 | 2 | 10:05 | 483.8 | 1.029 | 0.478 | 0.006019 | 8.1 | 0.2217 | 7.89 | 12 | 29.42
2023-06-08 | 3 | 10:00 | 470.6 | 1.389 | 0.5027 | 0.004318 | 9.178 | 0.02602 | 7.94 | 12 | 29.41
2023-06-08 | 4 | 9:56 | 429.9 | 6.241 | 0.4728 | 0.004942 | 11.03 | 0.04898 | 7.95 | 12.2 | 29.42
2023-06-08 | 5 | 9:51 | 501.9 | 3.218 | 0.5019 | 0.006054 | 9.586 | 0.02722 | 7.96 | 12 | 29.41
2023-06-08 | 6 | 9:45 | 447.5 | 0.5597 | 0.4484 | 0.005548 | 6.103 | 0.005874 | 7.99 | 12 | 29.39
2023-06-08 | 7 | 9:42 | 478.8 | 1.915 | 0.5281 | 0.004847 | 9.428 | 0.01455 | 7.96 | 11.9 | 29.41
2023-06-08 | 8 | 9:36 | 549.2 | 6.82 | 0.5066 | 0.004911 | 10.12 | 0.04783 | 7.91 | 12 | 29.42
2023-06-08 | Air Only | 9:30 | 417.9 | 2.131 | 0.3547 | 0.0058 | 2.007 | 0.01171
2023-06-08 | Cal Gas |  | 394.6 | 1.133 | 0.104 | 0.0035 | 0.04613 | 0.0008
2023-06-20 | Inlet | 15:56 | 521.3 | 2.066 | 0.5985 | 0.006508 | 4.819 | 0.004774 | 7.93 | 12.2 | 29.42 | KB, KP | lots of bubbles, hard to take sample without, causing high values
2023-06-20 | 1 | 15:48 | 364.9 | 1.958 | 0.5393 | 0.002454 | 9.577 | 0.01592 | 7.9 | 12.6 | 29.61 | KB, KP
2023-06-20 | 2 | 15:47 | 358.7 | 1.482 | 0.5278 | 0.004359 | 8.663 | 0.02839 | 7.85 | 12.3 | 29.59 | KB, KP
2023-06-20 | 3 | 15:39 | 337.7 | 2.47 | 0.5439 | 0.00575 | 7.022 | 0.0183 | 7.88 | 12.7 | 29.6 | KB, KP
2023-06-20 | 4 | 15:37 | 187.6 | 1.798 | 0.5315 | 0.006603 | 10.26 | 0.02057 | 7.99 | 12.2 | 29.58 | KB, KP
2023-06-20 | 5 | 15:32 | 417.9 | 1.484 | 0.5109 | 0.005293 | 8.102 | 0.01365 | 7.82 | 12.7 | 29.59 | KB, KP
2023-06-20 | 6 | 15:27 | 293.3 | 2.052 | 0.5261 | 0.006075 | 7.735 | 0.01268 | 8.01 | 12.7 | 29.58 | KB, KP | likely a bad sample due to the CO2 value
2023-06-20 | 7 | 15:22 | 294.4 | 1.366 | 0.4889 | 0.03477 | 9.664 | 0.01258 | 8.06 | 14.1 | 29.58 | KB, KP | likely a bad sample due to the CO2 value
2023-06-20 | 8 | 15:17 | 480.5 | 1.648 | 0.5265 | 0.006284 | 8.806 | 0.01223 | 7.78 | 12.5 | 29.58 | KB, KP
2023-06-20 | Air Only | 15:04 | 428.5 | 2.056 | 0.3584 | 0.005125 | 1.993 | 0.007822 |  |  |  | KB, KP
2023-06-20 | Cal Gas 1 | 15:04 | 412.7 | 0.5331 | 0.0994 | 0.01327 | 0.3615 | 0.06353 |  |  |  | KB, KP
2023-06-20 | Cal Gas 2 | 16:25 | 416.6 | 3.38 | 0.07736 | 0.009799 | 0.4311 | 0.04313 |  |  |  | KB, KP
2023-06-23 | Inlet | 10:23 | 303.7 | 0.8803 | 0.5654 | 0.002407 | 10.04 | 0.009579 | 8.21 | 13.1 | 29.55 | KP, KB, FDR
2023-06-23 | 1 | 10:19 | 423 | 2.997 | 0.5429 | 0.002615 | 10.39 | 0.02502 | 8.06 | 12.6 | 29.67 | KP, KB, FDR
2023-06-23 | 2 | 10:13 | 474.2 | 3.798 | 0.5154 | 0.007475 | 6.509 | 0.01643 | 8.03 | 12.4 | 29.69 | KP, KB, FDR
2023-06-23 | 3 | 10:23 | 519.4 | 1.451 | 0.5428 | 0.005815 | 11.1 | 0.01392 | 8.02 | 12.7 | 29.71 | KP, KB, FDR
2023-06-23 | 4 | 10:10 | 364.2 | 0.08662 | 0.4946 | 0.004678 | 6.417 | 0.02308 | 8.12 | 12.7 | 29.68 | KP, KB, FDR
2023-06-23 | 5 | 10:05 | 546.9 | 1.546 | 0.5247 | 0.005206 | 7.523 | 0.01055 | 7.99 | 12.6 | 29.68 | KP, KB, FDR
2023-06-23 | 6 | 9:59 | 445.4 | 1.75 | 0.5338 | 0.004825 | 9.275 | 0.01263 | 8.1 | 12.3 | 29.68 | KP, KB, FDR
2023-06-23 | 7 | 9:58 | 442.1 | 2.285 | 0.5358 | 0.006623 | 7.819 | 0.01831 | 8.04 | 12.3 | 29.67 | KP, KB, FDR
2023-06-23 | 8 | 9:55 | 380.3 | 0.8455 | 0.5312 | 0.003893 | 10.92 | 0.02251 | 8.13 | 12.4 | 29.81 | KP, KB, FDR
2023-06-23 | Cal gas 1 |  | 416.4 | 0.8921 | 0.07256 | 0.00956 | 0.1973 | 0.01341 |  |  |  | KP, KB, FDR | 410 ppm Standard
2023-06-23 | Cal Gas 2 |  | 412.3 | 1.164 | 0.04199 | 0.004797 | 0.1776 | 0.0006203 |  |  |  | KP, KB, FDR | 410 ppm Standard
2023-06-23 | Air Only | 9:49 | 421.9 | 2.79 | 0.3596 | 0.00621 | 1.998 | 0.004785 |  |  |  | KP, KB, FDR
2023-07-03 | Inlet | 13:45 | 495.1 | 0.4028 | 0.5969 | 0.003101 | 5.808 | 0.006418 |  |  |  | KP, KB, FDR
2023-07-03 | 1 | 13:46 | 310.6 | 0.6336 | 0.5441 | 0.00656 | 8.92 | 0.01731 |  |  |  | KP, KB, FDR
2023-07-03 | 2 | 13:38 | 399 | 0.8495 | 0.5142 | 0.0033 | 8.022 | 0.02518 |  |  |  | KP, KB, FDR
2023-07-03 | 3 | 13:38 | 381.8 | 2.392 | 0.5273 | 0.005932 | 5.925 | 0.01084 |  |  |  | KP, KB, FDR
2023-07-03 | 4 | 13:35 | 235.2 | 0.7846 | 0.5212 | 0.003877 | 11.19 | 0.0181 |  |  |  | KP, KB, FDR
2023-07-03 | 5 | 13:30 | 542.4 | 1.456 | 0.5299 | 0.004207 | 7.011 | 0.008598 |  |  |  | KP, KB, FDR
2023-07-03 | 6 | 13:29 | 293.9 | 0.8936 | 0.5381 | 0.004469 | 6.22 | 0.004506 |  |  |  | KP, KB, FDR
2023-07-03 | 7 | 13:22 | 366 | 1.196 | 0.5223 | 0.005003 | 9.097 | 0.01075 |  |  |  | KP, KB, FDR
2023-07-03 | 8 | 13:23 | 469.3 | 0.7865 | 0.5304 | 0.003156 | 7.954 | 0.0291 |  |  |  | KP, KB, FDR
2023-07-03 | Cal gas 1 | 13:58 | 417.8 | 1.53 | 0.02992 | 0.005328 | 0.1259 | 0.005165 |  |  |  | KP, KB, FDR
2023-07-03 | Cal Gas 2 | 14:28 | 411.9 | 2.1 | 0.05509 | 0.005864 | 0.1795 | 0.01225 |  |  |  | KP, KB, FDR
2023-07-03 | Air Only | 13:24 | 416.1 | 0.421 | 0.3676 | 0.005136 | 2.05 | 0.005087 |  |  |  | KP, KB, FDR
2023-07-07 | Inlet | 9:34 | 510.4 | 4.794 | 0.5754 | 0.004475 | 6.404 | 0.02371 | 7.94 | 13.1 | 29.55 | KP, KB, FDR
2023-07-07 | 1 | 9:32 | 707.6 | 2.371 | 0.5797 | 0.005367 | 13.59 | 0.02477 | 7.9 | 12.8 | 29.67 | KP, KB, FDR | outrages values, probably due to a different time of day
2023-07-07 | 2 | 9:23 | 814.1 | 5.182 | 0.5432 | 0.007208 | 10.88 | 0.02671 | 7.78 | 12.8 | 29.68 | KP, KB, FDR
2023-07-07 | 3 | 9:26 | 753.9 | 2.456 | 0.5445 | 0.007015 | 8.863 | 0.02924 | 7.84 | 13 | 29.68 | KP, KB, FDR
2023-07-07 | 4 | 9:23 | 825.4 | 6.288 | 0.5494 | 0.005449 | 14.48 | 0.03985 | 7.82 | 12.7 | 29.68 | KP, KB, FDR
2023-07-07 | 5 | 9:17 | 947 | 3.916 | 0.6677 | 0.005724 | 11.34 | 0.01963 | 7.73 | 13.3 | 29.69 | KP, KB, FDR
2023-07-07 | 6 | 9:17 | 657.5 | 6.339 | 0.5323 | 0.006844 | 8.537 | 0.0308 | 7.9 | 12.9 | 29.67 | KP, KB, FDR
2023-07-07 | 7 | 9:13 | 922.9 | 3.646 | 0.539 | 0.005457 | 12.44 | 0.0122 | 7.79 | 12.9 | 29.67 | KP, KB, FDR
2023-07-07 | 8 | 9:10 | 724.6 | 2.03 | 0.5487 | 0.003832 | 10.92 | 0.008913 | 7.86 | 12.9 | 29.67 | KP, KB, FDR
2023-07-07 | Cal gas 1 | 9:45 | 412.5 | 1.055 | 0.02847 | 0.006872 | 0.06472 | 0.0006046 |  |  |  | KP, KB, FDR
2023-07-07 | Cal Gas 2 | 10:13 | 412.4 | 0.8622 | 0.03062 | 0.004976 | 0.06113 | 0.0006029 |  |  |  | KP, KB, FDR
2023-07-07 | Air Only | 9:12 | 412.4 | 0.914 | 0.3569 | 0.006564 | 1.999 | 0.005751 |  |  |  | KP, KB, FDR
2023-07-17 | Inlet | 14:08 | 715.4 | 2.336 | 0.6118 | 0.004902 | 4.387 | 0.005892 | 8.05 | 13.7 | 31.31 | KP, KB, FDR
2023-07-17 | 1 | 14:21 | 360.8 | 1.678 | 0.594 | 0.005643 | 6.641 | 0.01589 | 7.94 | 14.4 | 31.4 | KP, KB, FDR
2023-07-17 | 2 | 14:22 | 451.5 | 1.632 | 0.5683 | 0.003774 | 7.923 | 0.006773 | 7.89 | 13.6 | 31.38 | KP, KB, FDR
2023-07-17 | 3 | 14:24 | 402.6 | 1.958 | 0.5755 | 0.006064 | 8.762 | 0.02072 | 7.94 | 14.1 | 31.39 | KP, KB, FDR
2023-07-17 | 4 | 14:16 | 309.7 | 1.252 | 0.5457 | 0.003783 | 9.42 | 0.02505 | 7.87 | 14.1 | 31.41 | KP, KB, FDR
2023-07-17 | 5 | 14:13 | 559.1 | 0.6805 | 0.577 | 0.005591 | 5.05 | 0.004541 | 7.9 | 13.8 | 31.37 | KP, KB, FDR
2023-07-17 | 6 | 14:08 | 356.3 | 0.6913 | 0.5639 | 0.005547 | 7.909 | 0.02126 | 7.95 | 13.7 | 31.38 | KP, KB, FDR
2023-07-17 | 7 | 14:03 | 387.5 | 0.5841 | 0.5749 | 0.004868 | 6.722 | 0.00456 | 7.82 | 13.7 | 31.39 | KP, KB, FDR
2023-07-17 | 8 | 14:00 | 449 | 0.6525 | 0.5588 | 0.006353 | 8.694 | 0.01266 | 7.97 | 13.6 | 31.39 | KP, KB, FDR
2023-07-17 | Cal gas 1 | 14:35 | 416.1 | 1.076 | 0.03691 | 0.004187 | 0.08869 | 0.001309 |  |  |  | KP, KB, FDR
2023-07-17 | Cal Gas 2 |  | 413.7 | 0.5842 | 0.03244 | 0.005684 | 0.06681 | 0.0007975 |  |  |  | KP, KB, FDR
2023-07-17 | Air Only | 14:01 | 408.3 | 1.757 | 0.3581 | 0.005826 | 2.04 | 0.00513 |  |  |  | KP, KB, FDR
2023-07-21 | Inlet | 10:09 | 356.6 | 0.3833 | 0.56 | 0.004296 | 11.57 | 0.01065
2023-07-21 | 1 | 10:28 | 377.7 | 0.7827 | 0.5642 | 0.004561 | 9.785 | 0.02355
2023-07-21 | 2 | 10:24 | 448.9 | 0.7615 | 0.5495 | 0.004258 | 8.994 | 0.0128
2023-07-21 | 3 | 10:26 | 466.4 | 0.3068 | 0.5665 | 0.002648 | 5.886 | 0.002731
2023-07-21 | 4 | 10:15 | 381.7 | 0.7343 | 0.5275 | 0.002658 | 5.297 | 0.004745
2023-07-21 | 5 | 10:18 | 482.6 | 0.1779 | 0.5696 | 0.00325 | 9.138 | 0.008744
2023-07-21 | 6 | 10:17 | 450.9 | 0.6856 | 0.5547 | 0.005371 | 7.465 | 0.008781
2023-07-21 | 7 | 10:06 | 537.7 | 1.075 | 0.5718 | 0.004002 | 5.486 | 0.004756
2023-07-21 | 8 | 10:05 | 457.4 | 0.8401 | 0.5548 | 0.005983 | 0.5548 | 0.01672
2023-07-21 | Cal gas 1 | 10:46 | 414.4 | 0.716 | 0.03248 | 0.003846 | 0.08614 | 0.0007438
2023-07-21 | Cal Gas 2 | 11:15 | 413.3 | 0.5702 | 0.02898 | 0.005247 | 0.07318 | 0.0002211
2023-07-21 | Air Only | 9:56 | 419.6 | 0.8804 | 0.3557 | J0.004756 | 1.983 | 0.001174
Inlet
1
2
3
4
5
6
7
8
Cal gas 1
Cal Gas 2
Air Only
Inlet
1
2
3
4
5
6
7
8
Cal gas 1
Cal Gas 2
Air Only
Inlet
1
2
3
4
5
6
7
8
Cal gas 1
Cal Gas 2
Air Only

## Biweekly_Sensor_Checks
Date (YYMMDD) | Tank Name (3 or 5) | Tank Type (Bare or Eelgrass) | Time EXO pulled from tank (24h) | Time C-Sense pulled from tank (24 hr) | Time EXO placed in bucket | Time C-Sense placed in bag | Time C-Sense pulled from bag | Time EXO back in tank | Time C-Sense back in tank | Initials | Notes
230601 (EXAMPLE) | 3 | Eelgrass | 14:04 | 14:05 | 14:15 | 14:18 | 14:30 | 14:35 | 14:37 |  | Please record all times in 24-hour in PDT so they are clear and consistent
230601 (EXAMPLE) | 5 | Bare | 14:08 | 14:09 | 14:16 | 14:18 | 14:30 | 14:37 | 14:37 |  | I've put the times in an order that makes sense to me, please feel free to move if you like a different order better. If you are unclear how any times match to the SOP, please let me know!
230612 | 3 | Eelgrass | 13:30 | 13:30 | 15:10 * | 13:45 | 13:55 | 15:30 | 15:30 | KB, KP, TM | Tank 3 light biofouling, mostly diatoms
230612 | 5 | Bare | 13:35 | 13:35 | 15:10 * | 13:45 | 13:55 | 15:25 | 15:25 | KB, KP, TM | Tank 5 lots of diatoms, free hanging
230626 | 3 | Eelgrass | 12:43 | 12:43 | 13:16 | 12:57 | 13:08 | 14:35 | 14:35 | KP,KB,TM,FR | Tank 3 sensor being odd
230626 | 5 | Bare | 12:45 | 12:45 | 13:16 | 13:00 | 13:08 | 14:08 | 14:08 | KP,KB,TM,FR | * = short files, running out of time/battery
| 3 | Eelgrass | 10:05 | 10:05 | N/A | 10:17 | 10:27 | in lab | 13:26 | KP,KB,FR | Skipped bucket test today b/c EXO from tank 3 was not working
| 5 | Bare | 10:02 | 10:02 | N/A | 10:17 | 10:27 | 13:30 | 13:23 | KP,KB,FR | changing battery of BARE - 41% - 100%
3
5
3
5
3
5
3
5

## CO2_timeseries
Date | Sample ID | Time Collected (PSD) | CO2 mean | CO2 stdev | N2O mean | N2O stdev | CH4 mean | CH4 stdev | pH (NBS) | Tank T (C) | Salinity (psu) | Initials | Notes
2023-06-09 | 3 | 10:35 | 464.3 | 2.437 | 0.4728 | 0.004843 | 12.62 | 0.05036 | 7.9 | 12.2 | 28.31 | KB, KP, TM
2023-06-09 | 5 | 10:41 | 524.6 | 4.995 | 0.4572 | 0.006595 | 8.956 | 0.0257 | 7.81 | 12.6 | 28.55 | KB, KP, TM
2023-06-09 | 3 | 11:08 | 449.3 | 3.978 | 0.4731 | 0.004437 | 9.31 | 0.02323 | 7.9 | 12.2 | 28.31 | KB, KP, TM
2023-06-09 | 5 | 11:07 | 520.2 | 5.722 | 0.4577 | 0.006644 | 11.51 | 0.0607 | 7.81 | 12.6 | 28.55 | KB, KP, TM
2023-06-09 | 3 | 11:41 | 441.7 | 1.658 | 0.4806 | 0.004317 | 12.75 | 0.01401 | 7.9 | 12.2 | 28.31 | KB, KP, TM
2023-06-09 | 5 | 11:38 | 500.3 | 1.885 | 0.4705 | 0.003718 | 10.37 | 0.02491 | 7.81 | 12.6 | 28.55 | KB, KP, TM
2023-06-09 | 3 | 12:08 | 423 | 2.393 | 0.4862 | 0.00429 | 10.87 | 0.01332 | 7.9 | 12.2 | 28.31 | KB, KP, TM
2023-06-09 | 5 | 12:07 | 485.9 | 1.52 | 0.4793 | 0.003784 | 8.048 | 0.01562 | 7.81 | 12.6 | 28.55 | KB, KP, TM
2023-06-09 | 3 | 12:35 | 392.5 | 0.6592 | 0.4828 | 0.005782 | 7.691 | 0.02002 | 7.9 | 12.2 | 28.31 | KB, KP, TM
2023-06-09 | 5 | 12:35 | 462.7 | 2.002 | 0.4764 | 0.003962 | 11.13 | 0.02215 | 7.81 | 12.6 | 28.55 | KB, KP, TM
2023-06-09 | 3 | 12:58 | 400.9 | 2.397 | 0.4931 | 0.004586 | 10.66 | 0.01702 | 7.9 | 12.2 | 28.31 | KB, KP, TM
2023-06-09 | 5 | 13:00 | 452.2 | 1.691 | 0.4808 | 0.00686 | 10.4 | 0.03332 | 7.81 | 12.6 | 28.55 | KB, KP, TM
2023-06-09 | CAL STANDARD 1 | 9780:00 | 407.5 | 1.804 | 0.0589 | 0.00437 | 0.1368 | 0.001069 |  |  |  |  | 410 ppm CO2 standard
2023-06-09 | CAL STANDARD 2 | 13:14 | 412.4 | 1.746 | 0.08395 | 0.01003 | 0.3795 | 0.06746 |  |  |  |  | 410 ppm CO2 standard
2023-06-09 | Air | 10:00 | 415.7 | 2.101 | 0.3605 | 0.004135 | 1.994 | 0.002519
2023-06-15 | CAL STANDARD 1 | 14:59 | 415.7 | 0.6119 | 0.04808 | 0.004726 | 0.1226 | 0.0004697 |  |  |  | KB,KP | 410 ppm CO2 Standard
2023-06-15 | Air | 14:59 | 468.4 | 0.9036 | 0.3605 | 0.005107 | 1.986 | 0.007843 |  |  |  | KB,KP | From room air
2023-06-15 | 3 | 13:09 | 328.3 | 4.833 | 0.519 | 0.005932 | 7.285 | 0.04613 | 8.01 | 12 | 29.14 | KB,KP | system was being weird, had to reset N2 to ensure safety
2023-06-15 | 5 | 13:07 | 400.5 | 3.964 | 0.5178 | 0.006566 | 6.579 | 0.02223 | 7.99 | 12.1 | 29.14 | KB,KP | Tank 3 is looking very grimy and lots of diatoms are floating in the water
2023-06-15 | 3 | 15:22 | 257.8 | 3.38 | 0.5412 | 0.006853 | 6.515 | 0.02743 | 8.01 | 12 | 29.14 | KB,KP
2023-06-15 | 5 | 15:18 | 343.3 | 4.568 | 0.5129 | 0.005991 | 4.955 | 0.01589 | 7.99 | 12.1 | 29.14 | KB,KP
2023-06-15 | 3 | 15:43 | 261.2 | 2.461 | 0.5575 | 0.006046 | 6.342 | 0.01129 | 8.01 | 12 | 29.14 | KB,KP
2023-06-15 | 5 | 15:41 | 344.8 | 1.941 | 0.5301 | 0.005748 | 5.174 | 0.02361 | 7.99 | 12.1 | 29.14 | KB,KP
2023-06-22 | CAL STANDARD 1 | 13:08 | 415.4 | 2.836 | 0.079 | 0.01141 | 0.4155 | 0.04469 |  |  |  | KB,KP | 410 ppm CO2 standard
2023-06-22 | CAL STANDARD 2 | 15:03 | 418.7 | 1.416 | 0.05193 | 0.004114 | 0.2861 | 0.001048 |  |  |  | KB,KP | 410 ppm CO2 standard
2023-06-22 | Air | 13:10 | 418.3 | 1.261 | 0.3616 | 0.004966 | 2.032 | 0.002928 |  |  |  | KB,KP
2023-06-22 | 3 | 13:21 | 355.6 | 2.554 | 0.5525 | 0.004433 | 9.692 | 0.02216 | 7.91 | 12.2 | 29.68 | KB,KP
2023-06-22 | 5 | 13:23 | 438.2 | 4.24 | 0.4946 | 0.06058 | 6.872 | 2.259 | 7.91 | 12.3 | 29.71 | KB,KP
2023-06-22 | 3 | 13:35 | 346.4 | 3.11 | 0.5556 | 0.005291 | 8.978 | 0.0231 | 7.91 | 12.2 | 29.68 | KB,KP
2023-06-22 | 5 | 13:40 | 430.6 | 1.841 | 0.5338 | 0.006279 | 8.858 | 0.01474 | 7.91 | 12.3 | 29.71 | KB,KP
2023-06-22 | 3 | 13:53 | 345.7 | 3.201 | 0.5575 | 0.007385 | 9.177 | 0.03134 | 7.91 | 12.2 | 29.68 | KB,KP
2023-06-22 | 5 | 13:57 | 433.2 | 1.676 | 0.538 | 0.00786 | 8.937 | 0.03016 | 7.91 | 12.3 | 29.71 | KB,KP
2023-06-22 | 3 | 14:10 | 336.7 | 1.202 | 0.5618 | 0.00582 | 9.433 | 0.009673 | 7.91 | 12.2 | 29.68 | KB,KP
2023-06-22 | 5 | 14:14 | 444 | 3.48 | 0.5436 | 0.007114 | 9.604 | 0.01136 | 7.91 | 12.3 | 29.71 | KB,KP
2023-06-22 | 3 | 14:27 | 320.4 | 4.445 | 0.5569 | 0.008898 | 9.501 | 0.0457 | 7.91 | 12.2 | 29.68 | KB,KP
2023-06-22 | 5 | 14:30 | 424.7 | 3.275 | 0.5431 | 0.003747 | 8.549 | 0.02187 | 7.91 | 12.3 | 29.71 | KB,KP
2023-06-22 | 3 | 14:48 | 302.8 | 2.001 | 0.5655 | 0.006762 | 10.65 | 0.0234 | 7.91 | 12.2 | 29.68 | KB,KP
2023-06-22 | 5 | 14:51 | 395.4 | 1.527 | 0.5431 | 0.005503 | 9.151 | 0.03065 | 7.91 | 12.3 | 29.71 | KB,KP
2023-07-13 | Cal gas | 9:50 | 410.7 | 0.9213 | 0.03085 | 0.004962 | 0.06354 | 0.006825
2023-07-13 | Air | 9:03 | 407.4 | 0.9825 | 0.3613 | 0.003843 | 2.007 | 0.0009181
2023-07-13 | Inlet | 9:16 | 488.5 | 2.654 | 0.5827 | 0.005451 | 8.098 | 0.02115
2023-07-13 | 3 | 9:05 | 602.3 | 1.578 | 0.5396 | 0.005107 | 8.611 | 0.01396
2023-07-13 | 5 | 9:10 | 641.3 | 1.689 | 0.5946 | 0.00486 | 9.175 | 0.01718
2023-07-13 | Air | 10:05 | 409.1 | 1.162 | 0.3571 | 0.003802 | 1.998 | 0.001161
2023-07-13 | Inlet | 10:04 | 597.6 | 1.933 | 0.5877 | 0.005205 | 6.114 | 0.01432
2023-07-13 | 3 | 10:10 | 555.6 | 1.089 | 0.5281 | 0.005824 | 9.397 | 0.01217
2023-07-13 | 5 | 10:11 | 618.3 | 1.161 | 0.5886 | 0.004657 | 8.035 | 0.009158
2023-07-13 | Air | 11:00 | 408.9 | 0.6802 | 0.3608 | 0.004468 | 1.998 | 0.002228
2023-07-13 | Inlet | 11:09 | 593.4 | 1.61 | 0.6023 | 0.006117 | 5.316 | 0.002916
2023-07-13 | 3 | 11:08 | 519.5 | 1.209 | 0.573 | 0.004823 | 5.983 | 0.00931
2023-07-13 | 5 | 11:14 | 600.3 | 1.354 | 0.5945 | 0.004185 | 7.451 | 0.006788
2023-07-13 | Cal Gas | 12:26 | 409.3 | 0.7442 | 0.02691 | 0.006125 | 0.07471 | 0.001582
2023-07-13 | Air | 11:57 | 401.6 | 0.5109 | 0.3595 | 0.00339 | 2.014 | 0.001124
2023-07-13 | Inlet | 12:15 | 635.3 | 1.486 | 0.6112 | 0.004678 | 5.739 | 0.005278
2023-07-13 | 3 | 12:05 | 470.4 | 0.6498 | 0.5716 | 0.00501 | 7.761 | 0.01132
2023-07-13 | 5 | 12:12 | 600.5 | 1.54 | 0.6048 | 0.003776 | 6.702 | 0.01292
2023-07-13 | Air | 13:10 | 409.4 | 1.075 | 0.3568 | 0.005635 | 1.997 | 0.00193
2023-07-13 | Inlet | 13:09 | 568.4 | 2.129 | 0.591 | 0.003266 | 3.226 | 0.004906
2023-07-13 | 3 | 13:14 | 485.8 | 0.05013 | 0.5959 | 0.005807 | 7.307 | 0.005769
2023-07-13 | 5 | 13:18 | 578.4 | 1.66 | 0.59 | 0.004975 | 3.756 | 0.005096
2023-07-13 | Air | 14:02 | 400.1 | 1.226 | 0.3599 | 0.005803 | 1.986 | 0.002372
2023-07-13 | Inlet | 14:09 | 601.4 | 2.664 | 0.6154 | 0.00494 | 6.028 | 0.007157
2023-07-13 | 3 | 14:03 | 439.7 | 1.199 | 0.5818 | 0.005635 | 5.392 | 0.002322
2023-07-13 | 5 | 14:08 | 597.2 | 0.6021 | 0.5999 | 0.005718 | 5.598 | 0.006782
2023-07-13 | Air | 15:04 | 401.6 | 0.4619 | 0.3579 | 0.003583 | 1.984 | 0.0003216
2023-07-13 | Inlet | 15:09 | 534.6 | 1.072 | 0.5093 | 0.005492 | 1.554 | 0.002166
2023-07-13 | 3 | 15:04 | 394.6 | 0.5839 | 0.5577 | 0.005717 | 4.908 | 0.006876
2023-07-13 | 5 | 15:09 | 608.3 | 2.539 | 0.6085 | 0.006973 | 6.71 | 0.0236
2023-07-13 | Air | 15:54 | 407.7 | 0.5757 | 0.3576 | 0.006268 | 1.993 | 0.0004993
2023-07-13 | Inlet | 16:04 | 563.1 | 0.6375 | 0.5621 | 0.006528 | 2.731 | 0.002364
2023-07-13 | 3 | 15:58 | 372.6 | 0.9973 | 0.5608 | 0.004361 | 3.391 | 0.003305
2023-07-13 | 5 | 16:00 | 569.3 | 0.7821 | 0.5756 | 0.004266 | 5.687 | 0.002841
2023-07-13 | Cal Gas | 16:20 | 413.9 | 0.3812 | 0.02113 | 0.006237 | 0.07427 | 0.0007474